## Re-Purpose GEN9
Hardware |  | Hardware location and serial number | [5 empty] | Repurpose |  | O&M |  | iLO VLAN |  | BESR VLAN
Hostname | Type | Room | CNE Rack | Suite | Tile | Rack RU Position | Serial | New Hostname | Hostname | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | New Hostname
eeaprb001bkt | GTP Probe | SW1 | 1 | B | 23S | 7-8U | CZJ8080DW8 | eeaims001bkt | eeaprb001bkt | 1582 | 10.244.55.164 | 1584 | 10.244.55.196 | 1585 | 10.45.86.100 | eeaims001bkt
eeaprb002bkt | GTP Probe | SW1 | 1 | B | 23S | 5-6U | CZJ8080DW9 | eeaims002bkt | eeaprb002bkt | 1582 | 10.244.55.165 | 1584 | 10.244.55.197 | 1585 | 10.45.86.101 | eeaims002bkt
eeaprb003bkt | GTP Probe | SW1 | 1 | B | 23S | 3-4U | CZJ8080DWB | eeaims003bkt | eeaprb003bkt | 1582 | 10.244.55.166 | 1584 | 10.244.55.198 | 1585 | 10.45.86.102 | eeaims003bkt
eeaprb004bkt | GTP Probe | SW1 | 2 | B | 24S | 15-16U | CZJ8080DWC | eeaims004bkt | eeaprb004bkt | 1582 | 10.244.55.167 | 1584 | 10.244.55.199 | 1585 | 10.45.86.103 | eeaims004bkt
eeaprb005bkt | GTP Probe | SW1 | 2 | B | 24S | 13-14U | CZJ8080DWD | eeaims005bkt | eeaprb005bkt | 1582 | 10.244.55.168 | 1584 | 10.244.55.200 | 1585 | 10.45.86.104 | eeaims005bkt
eeaprb006bkt | GTP Probe | SW1 | 2 | B | 24S | 11-12U | CZJ8080DWF | eeaims006bkt | eeaprb006bkt | 1582 | 10.244.55.169 | 1584 | 10.244.55.201 | 1585 | 10.45.86.105 | eeaims006bkt
eeaprb007bkt | GTP Probe | SW1 | 2 | B | 24S | 9-10U | CZJ8080DWG | eeaims007bkt | eeaprb007bkt | 1582 | 10.244.55.170 | 1584 | 10.244.55.202 | 1585 | 10.45.86.106 | eeaims007bkt
eeaprb008bkt | GTP Probe | SW1 | 2 | B | 24S | 7-8U | CZJ8080DWH | eeaims008bkt | eeaprb008bkt | 1582 | 10.244.55.171 | 1584 | 10.244.55.203 | 1585 | 10.45.86.107 | eeaims008bkt
eeaprb009bkt | GTP Probe | SW1 | 2 | B | 24S | 5-6U | CZJ8080DWJ | eeaims009bkt | eeaprb009bkt | 1582 | 10.244.55.172 | 1584 | 10.244.55.204 | 1585 | 10.45.86.108 | eeaims009bkt
eeaxtr001bkt | Extreme Switch | SW1 | 1 | B | 23S | rear 33U | ?? | eeaxtr001bkt | eeaxtr001bkt | 1582 | 10.244.55.177 |  |  |  |  | eeaxtr001bkt
Hardware |  | Hardware location and serial number | [5 empty] | Repurpose |  | O&M |  | iLO VLAN |  | BESR VLAN
Hostname | Type | Room | CNE Rack | Suite | Tile | Rack RU Position | Serial | New Hostname | Hostname | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | New Hostname
eeaprb001lds | GTP Probe | SW6 | 1 | F | 22l | 22-21 | CZJ8080DVZ | eeaims001lds | eeaprb001lds | 1582 | 10.244.53.4 | 1584 | 10.244.53.36 | 1585 | 10.45.86.36 | eeaims001lds
eeaprb002lds | GTP Probe | SW6 | 1 | F | 22l | 19-20 | CZJ8080DW0 | eeaims002lds | eeaprb002lds | 1582 | 10.244.53.5 | 1584 | 10.244.53.37 | 1585 | 10.45.86.37 | eeaims002lds
eeaprb003lds | GTP Probe | SW6 | 1 | F | 22l | 17-18 | CZJ8080DW1 | eeaims003lds | eeaprb003lds | 1582 | 10.244.53.6 | 1584 | 10.244.53.38 | 1585 | 10.45.86.38 | eeaims003lds
eeaprb004lds | GTP Probe | SW6 | 1 | F | 22l | 15-16 | CZJ8080DW2 | eeaims004lds | eeaprb004lds | 1582 | 10.244.53.7 | 1584 | 10.244.53.39 | 1585 | 10.45.86.39 | eeaims004lds
eeaprb005lds | GTP Probe | SW6 | 1 | F | 22l | 13-14 | CZJ8080DW3 | eeaims005lds | eeaprb005lds | 1582 | 10.244.53.8 | 1584 | 10.244.53.40 | 1585 | 10.45.86.40 | eeaims005lds
eeaprb006lds | GTP Probe | SW6 | 1 | F | 22l | 11-12 | CZJ8080DW4 | eeaims006lds | eeaprb006lds | 1582 | 10.244.53.9 | 1584 | 10.244.53.41 | 1585 | 10.45.86.41 | eeaims006lds
eeaprb007lds | GTP Probe | SW6 | 1 | F | 22l | 9-10 | CZJ8080DW5 | eeaims007lds | eeaprb007lds | 1582 | 10.244.53.10 | 1584 | 10.244.53.42 | 1585 | 10.45.86.42 | eeaims007lds
eeaprb008lds | GTP Probe | SW6 | 1 | F | 22l | 7-8 | CZJ8080DW6 | eeaims008lds | eeaprb008lds | 1582 | 10.244.53.11 | 1584 | 10.244.53.43 | 1585 | 10.45.86.43 | eeaims008lds
eeaprb009lds | GTP Probe | SW6 | 1 | F | 22l | 5-6 | CZJ8080DW7 | eeaims009lds | eeaprb009lds | 1582 | 10.244.53.12 | 1584 | 10.244.53.44 | 1585 | 10.45.86.44 | eeaims009lds
eeaprb010lds | GTP Probe | SW6 | 1 | F | 22l | 3-4 | CZJ8080DXQ | eeaadp001lds | eeaprb010lds | 1582 | 10.244.53.13 | 1584 | 10.244.53.45 | 1585 | 10.45.86.45 | eeaadp001lds
eeaflb001lds | Flow Balancer | SW6 | 1 | F | 22l | 27-28 | CZJ8080JVT | eeaadp002lds | eeaflb001lds | 1582 | 10.244.53.14 | 1584 | 10.244.53.46 | 1585 | 10.45.86.58 | eeaadp002lds
eeaxtr001lds | Extreme Switch | SW6 | 1 | F | 22l | rear 33U | ?? | eeaxtr001lds | eeaxtr001lds | 1582 | 10.244.53.17
Hardware |  | Hardware location and serial number | [5 empty] | Repurpose |  | O&M |  | iLO VLAN |  | BESR VLAN
Hostname | Type | Room | CNE Rack | Suite | Tile | Rack RU Position | Serial | New Hostname | Hostname | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | New Hostname
eeaprb001cro | GTP Probe | SW5 | 1 | E | 28W | 7-8 | CZJ8080DWK | eeaims003cro | eeaprb001cro | 1582 | 10.244.55.228 | 1584 | 10.244.57.132 | 1585 | 10.45.86.132 | eeaims003cro
eeaprb002cro | GTP Probe | SW5 | 1 | E | 28W | 5-6 | CZJ8080DWL | eeaims004cro | eeaprb002cro | 1582 | 10.244.55.229 | 1584 | 10.244.57.133 | 1585 | 10.45.86.133 | eeaims004cro
eeaprb003cro | GTP Probe | SW5 | 1 | E | 28W | 3-4 | CZJ8080DWM | eeaims005cro | eeaprb003cro | 1582 | 10.244.55.230 | 1584 | 10.244.57.134 | 1585 | 10.45.86.134 | eeaims005cro
eeaprb004cro | GTP Probe | SW5 | 2 | E | 28V | 15-16 | CZJ8080DWN | eeaims006cro | eeaprb004cro | 1582 | 10.244.55.231 | 1584 | 10.244.57.135 | 1585 | 10.45.86.135 | eeaims006cro
eeaprb005cro | GTP Probe | SW5 | 2 | E | 28V | 13-14 | CZJ8080DWP | eeaims007cro | eeaprb005cro | 1582 | 10.244.55.232 | 1584 | 10.244.57.136 | 1585 | 10.45.86.136 | eeaims007cro
eeaprb006cro | GTP Probe | SW5 | 2 | E | 28V | 11-12 | CZJ8080DWQ | eeaims008cro | eeaprb006cro | 1582 | 10.244.55.233 | 1584 | 10.244.57.137 | 1585 | 10.45.86.137 | eeaims008cro
eeaprb007cro | GTP Probe | SW5 | 2 | E | 28V | 9-10 | CZJ8080DWR | eeaims009cro | eeaprb007cro | 1582 | 10.244.55.234 | 1584 | 10.244.57.138 | 1585 | 10.45.86.138 | eeaims009cro
eeaprb008cro | GTP Probe | SW5 | 2 | E | 28V | 7-8 | CZJ8080DWS | eeaims010cro | eeaprb008cro | 1582 | 10.244.55.235 | 1584 | 10.244.57.139 | 1585 | 10.45.86.139 | eeaims010cro
eeaprb009cro | GTP Probe | SW5 | 2 | E | 28V | 5-6 | CZJ8080DWT | eeaims011cro | eeaprb009cro | 1582 | 10.244.55.236 | 1584 | 10.244.57.140 | 1585 | 10.45.86.140 | eeaims011cro
eeaprb010cro | GTP Probe | SW5 | 2 | E | 28V | 3-4 | CZJ8080DXS | eeaadp001cro | eeaprb010cro | 1582 | 10.244.55.237 | 1584 | 10.244.57.141 | 1585 | 10.45.86.141 | eeaadp001cro
eeaflb001cro | Flow Balancer | SW5 | 1 | E | 28W | 13-14 | CZJ8080JW0 | eeaadp002cro | eeaflb001cro | 1582 | 10.244.55.238 | 1584 | 10.244.57.142 | 1585 | 10.45.86.154 | eeaadp002cro
eeaxtr001cro | Extreme Switch | SW5 | 1 | E | 28W | rear | ?? | eeaxtr001cro | eeaxtr001cro | 1582 | 10.244.55.241 |  |  |  |  | eeaxtr001cro
Hardware |  | Hardware location and serial number | [5 empty] | Repurpose |  | O&M |  | iLO VLAN |  | BESR VLAN
Hostname | Type | Room | CNE Rack | Suite | Tile | Rack RU Position | Serial | New Hostname | Hostname | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | New Hostname
eeaprb001ltn | GTP Probe | SW1 | 1 | 02A | 05L | 7-8 | CZJ8080DWV | eeaims003ltn | eeaprb001ltn | 1582 | 10.244.58.164 | 1584 | 10.244.58.228 | 1585 | 10.45.86.4 | eeaims003ltn
eeaprb002ltn | GTP Probe | SW1 | 1 | 02A | 05L | 5-6 | CZJ8080DWW | eeaims004ltn | eeaprb002ltn | 1582 | 10.244.58.165 | 1584 | 10.244.58.229 | 1585 | 10.45.86.5 | eeaims004ltn
eeaprb003ltn | GTP Probe | SW1 | 1 | 02A | 05L | 9-10 | CZJ8080DWX | eeaims005ltn | eeaprb003ltn | 1582 | 10.244.58.166 | 1584 | 10.244.58.230 | 1585 | 10.45.86.6 | eeaims005ltn
eeaprb004ltn | GTP Probe | SW1 | 2 | 02A | 05M | 15-16 | CZJ8080DWY | eeaims006ltn | eeaprb004ltn | 1582 | 10.244.58.167 | 1584 | 10.244.58.231 | 1585 | 10.45.86.7 | eeaims006ltn
eeaprb005ltn | GTP Probe | SW1 | 2 | 02A | 05M | 13-14 | CZJ8080DWZ | eeaims007ltn | eeaprb005ltn | 1582 | 10.244.58.168 | 1584 | 10.244.58.232 | 1585 | 10.45.86.8 | eeaims007ltn
eeaprb006ltn | GTP Probe | SW1 | 2 | 02A | 05M | 11-12 | CZJ8080DX0 | eeaims008ltn | eeaprb006ltn | 1582 | 10.244.58.169 | 1584 | 10.244.58.233 | 1585 | 10.45.86.9 | eeaims008ltn
eeaprb007ltn | GTP Probe | SW1 | 2 | 02A | 05M | 9-10 | CZJ8080DX1 | eeaims009ltn | eeaprb007ltn | 1582 | 10.244.58.170 | 1584 | 10.244.58.234 | 1585 | 10.45.86.10 | eeaims009ltn
eeaprb008ltn | GTP Probe | SW1 | 2 | 02A | 05M | 7-8 | CZJ8080DX2 | eeaims010ltn | eeaprb008ltn | 1582 | 10.244.58.171 | 1584 | 10.244.58.235 | 1585 | 10.45.86.11 | eeaims010ltn
eeaprb009ltn | GTP Probe | SW1 | 2 | 02A | 05M | 5-6 | CZJ8080DX3 | eeaims011ltn | eeaprb009ltn | 1582 | 10.244.58.172 | 1584 | 10.244.58.236 | 1585 | 10.45.86.12 | eeaims011ltn
eeaxtr001ltn | Extreme Switch | SW1 | 1 | 02A | 05L | rear 33 | ?? | eeaxtr001ltn | eeaxtr001ltn | 1582 | 10.244.58.177 |  |  |  |  | eeaxtr001ltn
Hardware |  | Hardware location and serial number | [5 empty] | Repurpose |  | O&M |  | iLO VLAN |  | BESR VLAN
Hostname | Type | Room | CNE Rack | Suite | Tile | Rack RU Position | Serial | New Hostname | Hostname | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | New Hostname
eeaprb001mfd | GTP Probe | SW1 | 1 | E | 20V | 7-8 | CZJ8080DX4 | eeaims003mfd | eeaprb001mfd | 1582 | 10.244.57.164 | 1584 | 10.244.57.196 | 1585 | 10.45.86.164 | eeaims003mfd
eeaprb002mfd | GTP Probe | SW1 | 1 | E | 20V | 5-6 | CZJ8080DX5 | eeaims004mfd | eeaprb002mfd | 1582 | 10.244.57.165 | 1584 | 10.244.57.197 | 1585 | 10.45.86.165 | eeaims004mfd
eeaprb003mfd | GTP Probe | SW1 | 1 | E | 20V | 3-4 | CZJ8080DX6 | eeaims005mfd | eeaprb003mfd | 1582 | 10.244.57.166 | 1584 | 10.244.57.198 | 1585 | 10.45.86.166 | eeaims005mfd
eeaprb004mfd | GTP Probe | SW1 | 2 | E | 19V | 15-16 | CZJ8080DX7 | eeaims006mfd | eeaprb004mfd | 1582 | 10.244.57.167 | 1584 | 10.244.57.199 | 1585 | 10.45.86.167 | eeaims006mfd
eeaprb005mfd | GTP Probe | SW1 | 2 | E | 19V | 13-14 | CZJ8080DX8 | eeaims007mfd | eeaprb005mfd | 1582 | 10.244.57.168 | 1584 | 10.244.57.200 | 1585 | 10.45.86.168 | eeaims007mfd
eeaprb006mfd | GTP Probe | SW1 | 2 | E | 19V | 11-12 | CZJ8080DX9 | eeaims008mfd | eeaprb006mfd | 1582 | 10.244.57.169 | 1584 | 10.244.57.201 | 1585 | 10.45.86.169 | eeaims008mfd
eeaprb007mfd | GTP Probe | SW1 | 2 | E | 19V | 9-10 | CZJ8080DXB | eeaims009mfd | eeaprb007mfd | 1582 | 10.244.57.170 | 1584 | 10.244.57.202 | 1585 | 10.45.86.170 | eeaims009mfd
eeaprb008mfd | GTP Probe | SW1 | 2 | E | 19V | 7-8 | CZJ8080DXC | eeaims010mfd | eeaprb008mfd | 1582 | 10.244.57.171 | 1584 | 10.244.57.203 | 1585 | 10.45.86.171 | eeaims010mfd
eeaprb009mfd | GTP Probe | SW1 | 2 | E | 19V | 5-6 | CZJ8080DXD | eeaims011mfd | eeaprb009mfd | 1582 | 10.244.57.172 | 1584 | 10.244.57.204 | 1585 | 10.45.86.172 | eeaims011mfd
eeaxtr001mfd | Extreme Switch | SW1 | 1 | E | 20V | rear | ?? | eeaxtr001mfd | eeaxtr001mfd | 1582 | 10.244.57.177 |  |  |  |  | eeaxtr001mfd
Hardware |  | Hardware location and serial number | [5 empty] | Repurpose |  | O&M |  | iLO VLAN |  | BESR VLAN
Hostname | Type | Room | CNE Rack | Suite | Tile | Rack RU Position | Serial | New Hostname | Hostname | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | New Hostname
eeaprb001wvn | GTP Probe | SW4 | 1 | G | 37K | 22-21 | CZJ8080DXF | eeaims003wvn | eeaprb001wvn | 1582 | 10.244.55.100 | 1584 | 10.244.55.136 | 1585 | 10.45.86.72 | eeaims003wvn
eeaprb002wvn | GTP Probe | SW4 | 1 | G | 37K | 20-19 | CZJ8080DXG | eeaims004wvn | eeaprb002wvn | 1582 | 10.244.55.101 | 1584 | 10.244.55.137 | 1585 | 10.45.86.73 | eeaims004wvn
eeaprb003wvn | GTP Probe | SW4 | 1 | G | 37K | 18-17 | CZJ8080DXH | eeaims005wvn | eeaprb003wvn | 1582 | 10.244.55.102 | 1584 | 10.244.55.138 | 1585 | 10.45.86.74 | eeaims005wvn
eeaprb004wvn | GTP Probe | SW4 | 1 | G | 37K | 15-16 | CZJ8080DXJ | eeaims006wvn | eeaprb004wvn | 1582 | 10.244.55.103 | 1584 | 10.244.55.139 | 1585 | 10.45.86.75 | eeaims006wvn
eeaprb005wvn | GTP Probe | SW4 | 1 | G | 37K | 13-14 | CZJ8080DXK | eeaims007wvn | eeaprb005wvn | 1582 | 10.244.55.104 | 1584 | 10.244.55.140 | 1585 | 10.45.86.76 | eeaims007wvn
eeaprb006wvn | GTP Probe | SW4 | 1 | G | 37K | 11-12 | CZJ8080DXL | eeaims008wvn | eeaprb006wvn | 1582 | 10.244.55.105 | 1584 | 10.244.55.141 | 1585 | 10.45.86.77 | eeaims008wvn
eeaprb007wvn | GTP Probe | SW4 | 1 | G | 37K | 10-9 | CZJ8080DXM | eeaims009wvn | eeaprb007wvn | 1582 | 10.244.55.106 | 1584 | 10.244.55.147 | 1585 | 10.45.86.89 | eeaims009wvn
eeaprb008wvn | GTP Probe | SW4 | 1 | G | 37K | 7-8 | CZJ8080DXN | eeaims010wvn | eeaprb008wvn | 1582 | 10.244.55.107 | 1584 | 10.244.55.142 | 1585 | 10.45.86.90 | eeaims010wvn
eeaprb009wvn | GTP Probe | SW4 | 1 | G | 37K | 5-6 | CZJ8080DXP | eeaims011wvn | eeaprb009wvn | 1582 | 10.244.55.108 | 1584 | 10.244.55.143 | 1585 | 10.45.86.91 | eeaims011wvn
eeaxtr001wvn | Extreme Switch | SW4 | 1 | G | 37K | rear 33U | ?? | eeaxtr001wvn | eeaxtr001wvn | 1582 | 10.244.55.113 |  |  |  |  | eeaxtr001wvn

## Recover GEN9
Hardware |  |  | O&M |  | iLO VLAN |  | BESR VLAN |  | Hardware |  |  | Hardware location and serial number
Hostname | Type | Site Name | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | Hostname | Type | Site Name | CNE Rack | Suite | Tile | Rack RU Position | Serial
eeaprb010bkt | GTP Probe | Beckton | 1582 | 10.244.55.173 | 1584 | 10.244.55.205 | 1585 | 10.45.86.109 | eeaprb010bkt | GTP Probe | Beckton | 2 | B | 24S | 3-4U | CZJ8080DXR
eeaflb001bkt | Flow Balancer | Beckton | 1582 | 10.244.55.174 | 1584 | 10.244.55.206 | 1585 | 10.45.86.122 | eeaflb001bkt | Flow Balancer | Beckton | 1 | B | 23S | 13-14U | CZJ8080JVX
eeaflb002bkt | Flow Balancer | Beckton | 1582 | 10.244.55.175 | 1584 | 10.244.55.207 | 1585 | 10.45.86.123 | eeaflb002bkt | Flow Balancer | Beckton | 1 | B | 23S | 11-12U | CZJ8080JVY
eeaflb003bkt | Flow Balancer | Beckton | 1582 | 10.244.55.176 | 1584 | 10.244.55.208 | 1585 | 10.45.86.124 | eeaflb003bkt | Flow Balancer | Beckton | 1 | B | 23S | 9-10U | CZJ8080JVZ
eeaflb004bkt | Flow Balancer | Beckton | 1582 | 10.244.55.179 | 1584 | 10.244.55.209 | 1585 | 10.45.86.125 | eeaflb004bkt | Flow Balancer | Beckton | 2 | B | 24S | 17-18 | CZJ81101ZQ
eeaxtr002bkt | Extreme Switch | Beckton | 1582 | 10.244.55.178 |  |  |  |  | eeaxtr002bkt | Extreme Switch | Beckton | 1 | B | 23S | rear 32U | ??
Hardware |  |  | O&M |  | iLO VLAN |  | BESR VLAN |  | Hardware |  |  | Hardware location and serial number
Hostname | Type | Site Name | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | Hostname | Type | Site Name | CNE Rack | Suite | Tile | Rack RU Position | Serial
eeaflb002lds | Flow Balancer | Barnsley | 1582 | 10.244.53.15 | 1584 | 10.244.53.47 | 1585 | 10.45.86.59 | eeaflb002lds | Flow Balancer | Barnsley | 1 | F | 22l | 25-26 | CZJ8080JVV
eeaflb003lds | Flow Balancer | Barnsley | 1582 | 10.244.53.16 | 1584 | 10.244.53.48 | 1585 | 10.45.86.60 | eeaflb003lds | Flow Balancer | Barnsley | 1 | F | 22l | 23-24 | CZJ8080JVW
eeaflb004lds | Flow Balancer | Barnsley | 1582 | 10.244.53.19 | 1584 | 10.244.53.49 | 1585 | 10.45.86.61 | eeaflb004lds | Flow Balancer | Barnsley | 1 | F | 22l | 35-36U | CZJ81101ZP
eeaxtr002lds | Extreme Switch | Barnsley | 1582 | 10.244.53.18 |  |  |  |  | eeaxtr002lds | Extreme Switch | Barnsley | 1 | F | 22l | rear 31U | ??
Hardware |  |  | O&M |  | iLO VLAN |  | BESR VLAN |  | Hardware |  |  | Hardware location and serial number
Hostname | Type | Site Name | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | Hostname | Type | Site Name | CNE Rack | Suite | Tile | Rack RU Position | Serial
eeaflb002cro | Flow Balancer | Croydon | 1582 | 10.244.55.239 | 1584 | 10.244.57.143 | 1585 | 10.45.86.155 | eeaflb002cro | Flow Balancer | Croydon | 1 | E | 28W | 11-12 | CZJ8080JW1
eeaflb003cro | Flow Balancer | Croydon | 1582 | 10.244.55.240 | 1584 | 10.244.57.144 | 1585 | 10.45.86.156 | eeaflb003cro | Flow Balancer | Croydon | 1 | E | 28W | 9-10 | CZJ8080JW2
eeaflb004cro | Flow Balancer | Croydon | 1582 | 10.244.55.245 | 1584 | 10.244.57.147 | 1585 | 10.45.86.157 | eeaflb004cro | Flow Balancer | Croydon | 1 | E | 28W | 19-18 | CZJ81101ZN
eeaxtr002cro | Extreme Switch | Croydon | 1582 | 10.244.55.242 |  |  |  |  | eeaxtr002cro | Extreme Switch | Croydon | 1 | E | 28W | rear | ??
Hardware |  |  | O&M |  | iLO VLAN |  | BESR VLAN |  | Hardware |  |  | Hardware location and serial number
Hostname | Type | Site Name | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | Hostname | Type | Site Name | CNE Rack | Suite | Tile | Rack RU Position | Serial
eeaprb010ltn | GTP Probe | Luton | 1582 | 10.244.58.173 | 1584 | 10.244.58.237 | 1585 | 10.45.86.13 | eeaprb010ltn | GTP Probe | Luton | 2 | 02A | 05M | 3-4 | CZJ8080DXT
eeaflb001ltn | Flow Balancer | Luton | 1582 | 10.244.58.174 | 1584 | 10.244.58.238 | 1585 | 10.45.86.26 | eeaflb001ltn | Flow Balancer | Luton | 1 | 02A | 05L | 13-14 | CZJ8080JW3
eeaflb002ltn | Flow Balancer | Luton | 1582 | 10.244.58.175 | 1584 | 10.244.58.239 | 1585 | 10.45.86.27 | eeaflb002ltn | Flow Balancer | Luton | 1 | 02A | 05L | 11-12 | CZJ8080JW4
eeaflb003ltn | Flow Balancer | Luton | 1582 | 10.244.58.176 | 1584 | 10.244.58.240 | 1585 | 10.45.86.28 | eeaflb003ltn | Flow Balancer | Luton | 1 | 02A | 05L | 9-10 | CZJ8080JW5
eeaflb004ltn | Flow Balancer | Luton | 1582 | 10.244.58.181 | 1584 | 10.244.58.243 | 1585 | 10.45.86.29 | eeaflb004ltn | Flow Balancer | Luton | 1 | 02A | 05L | 18-19 | CZJ81101ZR
eeaxtr002ltn | Extreme Switch | Luton | 1582 | 10.244.58.178 |  |  |  |  | eeaxtr002ltn | Extreme Switch | Luton | 1 | 02A | 05L | rear 32 | ??
Hardware |  |  | O&M |  | iLO VLAN |  | BESR VLAN |  | Hardware |  |  | Hardware location and serial number
Hostname | Type | Site Name | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | Hostname | Type | Site Name | CNE Rack | Suite | Tile | Rack RU Position | Serial
eeaprb010mfd | GTP Probe | Mansfield | 1582 | 10.244.57.173 | 1584 | 10.244.57.205 | 1585 | 10.45.86.173 | eeaprb010mfd | GTP Probe | Mansfield | 2 | E | 19V | 3-4 | CZJ8080DXV
eeaflb001mfd | Flow Balancer | Mansfield | 1582 | 10.244.57.174 | 1584 | 10.244.57.206 | 1585 | 10.45.86.186 | eeaflb001mfd | Flow Balancer | Mansfield | 1 | E | 20V | 13-14 | CZJ8080JW6
eeaflb002mfd | Flow Balancer | Mansfield | 1582 | 10.244.57.175 | 1584 | 10.244.57.207 | 1585 | 10.45.86.187 | eeaflb002mfd | Flow Balancer | Mansfield | 1 | E | 20V | 11-12 | CZJ8080JW7
eeaflb003mfd | Flow Balancer | Mansfield | 1582 | 10.244.57.176 | 1584 | 10.244.57.208 | 1585 | 10.45.86.188 | eeaflb003mfd | Flow Balancer | Mansfield | 1 | E | 20V | 9-10 | CZJ8080JW8
eeaflb004mfd | Flow Balancer | Mansfield | 1582 | 10.244.57.181 | 1584 | 10.244.57.209 | 1585 | 10.45.86.189 | eeaflb004mfd | Flow Balancer | Mansfield | 1 | E | 20V | 21-22 | CZJ8101ZS
eeaxtr002mfd | Extreme Switch | Mansfield | 1582 | 10.244.57.178 |  |  |  |  | eeaxtr002mfd | Extreme Switch | Mansfield | 1 | E | 20V | rear | ??
Hardware |  |  | O&M |  | iLO VLAN |  | BESR VLAN |  | Hardware |  |  | Hardware location and serial number
Hostname | Type | Site Name | VLAN | IP Address | VLAN | IP Address | VLAN | IP Address | Hostname | Type | Site Name | CNE Rack | Suite | Tile | Rack RU Position | Serial
eeaprb010wvn | GTP Probe | West Brom | 1582 | 10.244.55.109 | 1584 | 10.244.55.144 | 1585 | 10.45.86.92 | eeaprb010wvn | GTP Probe | West Brom | 1 | G | 37K | 3-4 | CZJ8080DXW
eeaprb011wvn | GTP Probe | West Brom | 1582 | 10.244.55.117 | 1584 | 10.244.55.149 | 1585 | 10.45.86.94 | eeaprb011wvn | GTP Probe | West Brom | 1 | G | 37K | 35-36 | CZJ81101Z7
eeaflb001wvn | Flow Balancer | West Brom | 1582 | 10.244.55.110 | 1584 | 10.244.55.132 | 1585 | 10.45.86.68 | eeaflb001wvn | Flow Balancer | West Brom | 1 | G | 37K | 27-28 | CZJ8080JW9
eeaflb002wvn | Flow Balancer | West Brom | 1582 | 10.244.55.111 | 1584 | 10.244.55.133 | 1585 | 10.45.86.69 | eeaflb002wvn | Flow Balancer | West Brom | 1 | G | 37K | 25-26 | CZJ8080JWB
eeaflb003wvn | Flow Balancer | West Brom | 1582 | 10.244.55.112 | 1584 | 10.244.55.134 | 1585 | 10.45.86.70 | eeaflb003wvn | Flow Balancer | West Brom | 1 | G | 37K | 23-24 | CZJ8080JWC
eeaflb004wvn | Flow Balancer | West Brom | 1582 | 10.244.55.119 | 1584 | 10.244.55.135 | 1585 | 10.45.86.71 | eeaflb004wvn | Flow Balancer | West Brom | 2 | G | 37M | 9-10 | CZJ81101ZT
eeaxtr002wvn | Extreme Switch | West Brom | 1582 | 10.244.55.114 |  |  |  |  | eeaxtr002wvn | Extreme Switch | West Brom | 1 | G | 37K | rear 31U | ??